## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | min_vm_pu | float64
6 | bus | max_vm_pu | float64
7 | load | name | object
8 | load | bus | uint32
9 | load | p_kw | float64
10 | load | q_kvar | float64
11 | load | const_z_percent | float64
12 | load | const_i_percent | float64
13 | load | sn_kva | float64
14 | load | scaling | float64
15 | load | in_service | bool
16 | load | type | object
17 | load | controllable | bool
18 | load | load_type | object
19 | load | load_cost | float64
20 | sgen | name | object
21 | sgen | bus | int64
22 | sgen | p_kw | float64
23 | sgen | q_kvar | float64
24 | sgen | sn_kva | float64
25 | sgen | scaling | float64
26 | sgen | in_service | bool
27 | sgen | type | object
28 | storage | name | object
29 | storage | bus | int64
30 | storage | p_kw | float64
31 | storage | q_kvar | float64
32 | storage | sn_kva | float64
33 | storage | soc_percent | float64
34 | storage | min_e_kwh | float64
35 | storage | max_e_kwh | float64
36 | storage | scaling | float64
37 | storage | in_service | bool
38 | storage | type | object
39 | gen | name | object
40 | gen | bus | uint32
41 | gen | p_kw | float64
42 | gen | vm_pu | float64
43 | gen | sn_kva | float64
44 | gen | min_q_kvar | float64
45 | gen | max_q_kvar | float64
46 | gen | scaling | float64
47 | gen | in_service | bool
48 | gen | type | object
49 | switch | bus | int64
50 | switch | element | int64
51 | switch | et | object
52 | switch | type | object
53 | switch | closed | bool
54 | switch | name | object
55 | shunt | bus | uint32
56 | shunt | name | object
57 | shunt | q_kvar | float64
58 | shunt | p_kw | float64
59 | shunt | vn_kv | float64
60 | shunt | step | uint32
61 | shunt | max_step | uint32
62 | shunt | in_service | bool
63 | ext_grid | name | object
64 | ext_grid | bus | uint32
65 | ext_grid | vm_pu | float64
66 | ext_grid | va_degree | float64
67 | ext_grid | in_service | bool
68 | ext_grid | min_p_kw | float64
69 | ext_grid | max_p_kw | float64
70 | ext_grid | min_q_kvar | float64
71 | ext_grid | max_q_kvar | float64
72 | line | name | object
73 | line | std_type | object
74 | line | from_bus | uint32
75 | line | to_bus | uint32
76 | line | length_km | float64
77 | line | r_ohm_per_km | float64
78 | line | x_ohm_per_km | float64
79 | line | c_nf_per_km | float64
80 | line | g_us_per_km | float64
81 | line | max_i_ka | float64
82 | line | df | float64
83 | line | parallel | uint32
84 | line | type | object
85 | line | in_service | bool
86 | line | max_loading_percent | float64
87 | line | branch_r_pu | float64
88 | line | branch_x_pu | float64
89 | trafo | name | object
90 | trafo | std_type | object
91 | trafo | hv_bus | uint32
92 | trafo | lv_bus | uint32
93 | trafo | sn_kva | float64
94 | trafo | vn_hv_kv | float64
95 | trafo | vn_lv_kv | float64
96 | trafo | vsc_percent | float64
97 | trafo | vscr_percent | float64
98 | trafo | pfe_kw | float64
99 | trafo | i0_percent | float64
100 | trafo | shift_degree | float64
101 | trafo | tp_side | object
102 | trafo | tp_mid | int32
103 | trafo | tp_min | int32
104 | trafo | tp_max | int32
105 | trafo | tp_st_percent | float64
106 | trafo | tp_st_degree | float64
107 | trafo | tp_pos | int32
108 | trafo | tp_phase_shifter | bool
109 | trafo | parallel | uint32
110 | trafo | df | float64
111 | trafo | in_service | bool
112 | trafo3w | name | object
113 | trafo3w | std_type | object
114 | trafo3w | hv_bus | uint32
115 | trafo3w | mv_bus | uint32
116 | trafo3w | lv_bus | uint32
117 | trafo3w | sn_hv_kva | uint64
118 | trafo3w | sn_mv_kva | uint64
119 | trafo3w | sn_lv_kva | uint64
120 | trafo3w | vn_hv_kv | float64
121 | trafo3w | vn_mv_kv | float64
122 | trafo3w | vn_lv_kv | float64
123 | trafo3w | vsc_hv_percent | float64
124 | trafo3w | vsc_mv_percent | float64
125 | trafo3w | vsc_lv_percent | float64
126 | trafo3w | vscr_hv_percent | float64
127 | trafo3w | vscr_mv_percent | float64
128 | trafo3w | vscr_lv_percent | float64
129 | trafo3w | pfe_kw | float64
130 | trafo3w | i0_percent | float64
131 | trafo3w | shift_mv_degree | float64
132 | trafo3w | shift_lv_degree | float64
133 | trafo3w | tp_side | object
134 | trafo3w | tp_mid | int32
135 | trafo3w | tp_min | int32
136 | trafo3w | tp_max | int32
137 | trafo3w | tp_st_percent | float64
138 | trafo3w | tp_st_degree | float64
139 | trafo3w | tp_pos | int32
140 | trafo3w | tap_at_star_point | bool
141 | trafo3w | in_service | bool
142 | impedance | name | object
143 | impedance | from_bus | uint32
144 | impedance | to_bus | uint32
145 | impedance | rft_pu | float64
146 | impedance | xft_pu | float64
147 | impedance | rtf_pu | float64
148 | impedance | xtf_pu | float64
149 | impedance | sn_kva | float64
150 | impedance | in_service | bool
151 | dcline | name | object
152 | dcline | from_bus | uint32
153 | dcline | to_bus | uint32
154 | dcline | p_kw | float64
155 | dcline | loss_percent | float64
156 | dcline | loss_kw | float64
157 | dcline | vm_from_pu | float64
158 | dcline | vm_to_pu | float64
159 | dcline | max_p_kw | float64
160 | dcline | min_q_from_kvar | float64
161 | dcline | min_q_to_kvar | float64
162 | dcline | max_q_from_kvar | float64
163 | dcline | max_q_to_kvar | float64
164 | dcline | in_service | bool
165 | ward | name | object
166 | ward | bus | uint32
167 | ward | ps_kw | float64
168 | ward | qs_kvar | float64
169 | ward | qz_kvar | float64
170 | ward | pz_kw | float64
171 | ward | in_service | bool
172 | xward | name | object
173 | xward | bus | uint32
174 | xward | ps_kw | float64
175 | xward | qs_kvar | float64
176 | xward | qz_kvar | float64
177 | xward | pz_kw | float64
178 | xward | r_ohm | float64
179 | xward | x_ohm | float64
180 | xward | vm_pu | float64
181 | xward | in_service | bool
182 | measurement | name | object
183 | measurement | type | object
184 | measurement | element_type | object
185 | measurement | value | float64
186 | measurement | std_dev | float64
187 | measurement | bus | uint32
188 | measurement | element | object
189 | piecewise_linear_cost | type | object
190 | piecewise_linear_cost | element | object
191 | piecewise_linear_cost | element_type | object
192 | piecewise_linear_cost | p | object
193 | piecewise_linear_cost | f | object
194 | polynomial_cost | type | object
195 | polynomial_cost | element | object
196 | polynomial_cost | element_type | object
197 | polynomial_cost | c | object
198 | line_geodata | coords | object
199 | bus_geodata | x | float64
200 | bus_geodata | y | float64
201 | _empty_res_bus | vm_pu | float64
202 | _empty_res_bus | va_degree | float64
203 | _empty_res_bus | p_kw | float64
204 | _empty_res_bus | q_kvar | float64
205 | _empty_res_ext_grid | p_kw | float64
206 | _empty_res_ext_grid | q_kvar | float64
207 | _empty_res_line | p_from_kw | float64
208 | _empty_res_line | q_from_kvar | float64
209 | _empty_res_line | p_to_kw | float64
210 | _empty_res_line | q_to_kvar | float64
211 | _empty_res_line | pl_kw | float64
212 | _empty_res_line | ql_kvar | float64
213 | _empty_res_line | i_from_ka | float64
214 | _empty_res_line | i_to_ka | float64
215 | _empty_res_line | i_ka | float64
216 | _empty_res_line | loading_percent | float64
217 | _empty_res_trafo | p_hv_kw | float64
218 | _empty_res_trafo | q_hv_kvar | float64
219 | _empty_res_trafo | p_lv_kw | float64
220 | _empty_res_trafo | q_lv_kvar | float64
221 | _empty_res_trafo | pl_kw | float64
222 | _empty_res_trafo | ql_kvar | float64
223 | _empty_res_trafo | i_hv_ka | float64
224 | _empty_res_trafo | i_lv_ka | float64
225 | _empty_res_trafo | loading_percent | float64
226 | _empty_res_trafo3w | p_hv_kw | float64
227 | _empty_res_trafo3w | q_hv_kvar | float64
228 | _empty_res_trafo3w | p_mv_kw | float64
229 | _empty_res_trafo3w | q_mv_kvar | float64
230 | _empty_res_trafo3w | p_lv_kw | float64
231 | _empty_res_trafo3w | q_lv_kvar | float64
232 | _empty_res_trafo3w | pl_kw | float64
233 | _empty_res_trafo3w | ql_kvar | float64
234 | _empty_res_trafo3w | i_hv_ka | float64
235 | _empty_res_trafo3w | i_mv_ka | float64
236 | _empty_res_trafo3w | i_lv_ka | float64
237 | _empty_res_trafo3w | loading_percent | float64
238 | _empty_res_load | p_kw | float64
239 | _empty_res_load | q_kvar | float64
240 | _empty_res_sgen | p_kw | float64
241 | _empty_res_sgen | q_kvar | float64
242 | _empty_res_storage | p_kw | float64
243 | _empty_res_storage | q_kvar | float64
244 | _empty_res_gen | p_kw | float64
245 | _empty_res_gen | q_kvar | float64
246 | _empty_res_gen | va_degree | float64
247 | _empty_res_gen | vm_pu | float64
248 | _empty_res_shunt | p_kw | float64
249 | _empty_res_shunt | q_kvar | float64
250 | _empty_res_shunt | vm_pu | float64
251 | _empty_res_impedance | p_from_kw | float64
252 | _empty_res_impedance | q_from_kvar | float64
253 | _empty_res_impedance | p_to_kw | float64
254 | _empty_res_impedance | q_to_kvar | float64
255 | _empty_res_impedance | pl_kw | float64
256 | _empty_res_impedance | ql_kvar | float64
257 | _empty_res_impedance | i_from_ka | float64
258 | _empty_res_impedance | i_to_ka | float64
259 | _empty_res_dcline | p_from_kw | float64
260 | _empty_res_dcline | q_from_kvar | float64
261 | _empty_res_dcline | p_to_kw | float64
262 | _empty_res_dcline | q_to_kvar | float64
263 | _empty_res_dcline | pl_kw | float64
264 | _empty_res_dcline | vm_from_pu | float64
265 | _empty_res_dcline | va_from_degree | float64
266 | _empty_res_dcline | vm_to_pu | float64
267 | _empty_res_dcline | va_to_degree | float64
268 | _empty_res_ward | p_kw | float64
269 | _empty_res_ward | q_kvar | float64
270 | _empty_res_ward | vm_pu | float64
271 | _empty_res_xward | p_kw | float64
272 | _empty_res_xward | q_kvar | float64
273 | _empty_res_xward | vm_pu | float64
274 | res_ext_grid | p_kw | float64
275 | res_ext_grid | q_kvar | float64
276 | res_load | p_kw | float64
277 | res_load | q_kvar | float64
278 | res_sgen | p_kw | float64
279 | res_sgen | q_kvar | float64
280 | res_storage | p_kw | float64
281 | res_storage | q_kvar | float64
282 | res_shunt | p_kw | float64
283 | res_shunt | q_kvar | float64
284 | res_shunt | vm_pu | float64
285 | res_gen | p_kw | float64
286 | res_gen | q_kvar | float64
287 | res_gen | va_degree | float64
288 | res_gen | vm_pu | float64
289 | res_ward | p_kw | float64
290 | res_ward | q_kvar | float64
291 | res_ward | vm_pu | float64
292 | res_xward | p_kw | float64
293 | res_xward | q_kvar | float64
294 | res_xward | vm_pu | float64
295 | res_dcline | p_from_kw | float64
296 | res_dcline | q_from_kvar | float64
297 | res_dcline | p_to_kw | float64
298 | res_dcline | q_to_kvar | float64
299 | res_dcline | pl_kw | float64
300 | res_dcline | vm_from_pu | float64
301 | res_dcline | va_from_degree | float64
302 | res_dcline | vm_to_pu | float64
303 | res_dcline | va_to_degree | float64
304 | res_bus | vm_pu | float64
305 | res_bus | va_degree | float64
306 | res_bus | p_kw | float64
307 | res_bus | q_kvar | float64
308 | res_line | p_from_kw | float64
309 | res_line | q_from_kvar | float64
310 | res_line | p_to_kw | float64
311 | res_line | q_to_kvar | float64
312 | res_line | pl_kw | float64
313 | res_line | ql_kvar | float64
314 | res_line | i_from_ka | float64
315 | res_line | i_to_ka | float64
316 | res_line | i_ka | float64
317 | res_line | loading_percent | float64
318 | res_trafo | p_hv_kw | float64
319 | res_trafo | q_hv_kvar | float64
320 | res_trafo | p_lv_kw | float64
321 | res_trafo | q_lv_kvar | float64
322 | res_trafo | pl_kw | float64
323 | res_trafo | ql_kvar | float64
324 | res_trafo | i_hv_ka | float64
325 | res_trafo | i_lv_ka | float64
326 | res_trafo | loading_percent | float64
327 | res_trafo3w | p_hv_kw | float64
328 | res_trafo3w | q_hv_kvar | float64
329 | res_trafo3w | p_mv_kw | float64
330 | res_trafo3w | q_mv_kvar | float64
331 | res_trafo3w | p_lv_kw | float64
332 | res_trafo3w | q_lv_kvar | float64
333 | res_trafo3w | pl_kw | float64
334 | res_trafo3w | ql_kvar | float64
335 | res_trafo3w | i_hv_ka | float64
336 | res_trafo3w | i_mv_ka | float64
337 | res_trafo3w | i_lv_ka | float64
338 | res_trafo3w | loading_percent | float64
339 | res_impedance | p_from_kw | float64
340 | res_impedance | q_from_kvar | float64
341 | res_impedance | p_to_kw | float64
342 | res_impedance | q_to_kvar | float64
343 | res_impedance | pl_kw | float64
344 | res_impedance | ql_kvar | float64
345 | res_impedance | i_from_ka | float64
346 | res_impedance | i_to_ka | float64

## parameters
parameter
version | 1.6
converged | 0
name
f_hz | 50
sn_kva | 100000

## bus
| name | vn_kv | type | zone | in_service | min_vm_pu | max_vm_pu
0 | 0 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
1 | 1 | 12.66 | b | 1 | TRUE | 0.95 | 1.1
2 | 2 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
3 | 3 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
4 | 4 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
5 | 5 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
6 | 6 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
7 | 7 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
8 | 8 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
9 | 9 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
10 | 10 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
11 | 11 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
12 | 12 | 12.66 | b | 2 | TRUE | 0.95 | 1.1
13 | 13 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
14 | 14 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
15 | 15 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
16 | 16 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
17 | 17 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
18 | 18 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
19 | 19 | 12.66 | b | 2 | TRUE | 0.95 | 1.05
20 | 20 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
21 | 21 | 12.66 | b | 3 | TRUE | 0.95 | 1.1
22 | 22 | 12.66 | b | 2 | TRUE | 0.95 | 1.1
23 | 23 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
24 | 24 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
25 | 25 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
26 | 26 | 12.66 | b | 3 | TRUE | 0.95 | 1.1
27 | 27 | 12.66 | b | 1 | TRUE | 0.95 | 1.05
28 | 28 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
29 | 29 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
30 | 30 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
31 | 31 | 12.66 | b | 3 | TRUE | 0.95 | 1.05
32 | 32 | 12.66 | b | 3 | TRUE | 0.95 | 1.05

## load
| name | bus | p_kw | q_kvar | const_z_percent | const_i_percent | sn_kva | scaling | in_service | type | controllable | load_type | load_cost
0 |  | 1 | 100 | 60 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
1 |  | 2 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 2
2 |  | 3 | 120 | 80 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
3 |  | 4 | 60 | 30 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 2
4 |  | 5 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 2
5 |  | 6 | 200 | 100 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
6 |  | 7 | 200 | 100 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
7 |  | 8 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
8 |  | 9 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
9 |  | 10 | 45 | 30 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
10 |  | 11 | 60 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
11 |  | 12 | 60 | 35 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
12 |  | 13 | 120 | 80 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 10
13 |  | 14 | 60 | 10 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 10
14 |  | 15 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 10
15 |  | 16 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
16 |  | 17 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | commercial | 2
17 |  | 18 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 2
18 |  | 19 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
19 |  | 20 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 2
20 |  | 21 | 90 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | residential | 10
21 |  | 22 | 90 | 50 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 2
22 |  | 23 | 420 | 200 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
23 |  | 24 | 420 | 200 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
24 |  | 25 | 60 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 2
25 |  | 26 | 60 | 25 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 2
26 |  | 27 | 60 | 20 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 2
27 |  | 28 | 120 | 70 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
28 |  | 29 | 200 | 600 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
29 |  | 30 | 150 | 70 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
30 |  | 31 | 210 | 100 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 10
31 |  | 32 | 60 | 40 | 0 | 0 |  | 1 | TRUE |  | FALSE | industrial | 2

## sgen
name | bus | p_kw | q_kvar | sn_kva | scaling | in_service | type

## storage
name | bus | p_kw | q_kvar | sn_kva | soc_percent | min_e_kwh | max_e_kwh | scaling | in_service | type

## gen
name | bus | p_kw | vm_pu | sn_kva | min_q_kvar | max_q_kvar | scaling | in_service | type

## switch
bus | element | et | type | closed | name

## shunt
bus | name | q_kvar | p_kw | vn_kv | step | max_step | in_service

## ext_grid
| name | bus | vm_pu | va_degree | in_service | min_p_kw | max_p_kw | min_q_kvar | max_q_kvar
0 |  | 25 | 1 | 0 | TRUE | -10000 | 0 | -10000 | 10000
1 |  | 36 | 1 | 0 | TRUE | -10000 | 0 | -10000 | 10000

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | max_loading_percent | branch_r_pu | branch_x_pu
0 |  |  | 0 | 1 | 1 | 0.0922 | 0.047 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.057526 | 0.029324
1 |  |  | 1 | 2 | 1 | 0.493 | 0.2511 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.3076 | 0.15667
2 |  |  | 2 | 3 | 1 | 0.366 | 0.1864 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.22836 | 0.1163
3 |  |  | 3 | 4 | 1 | 0.3811 | 0.1941 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.23778 | 0.1211
4 |  |  | 4 | 5 | 1 | 0.819 | 0.707 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.51099 | 0.44112
5 |  |  | 5 | 6 | 1 | 0.1872 | 0.6188 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.1168 | 0.38608
6 |  |  | 6 | 7 | 1 | 0.7114 | 0.2351 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.44386 | 0.14668
7 |  |  | 7 | 8 | 1 | 1.03 | 0.74 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.64264 | 0.4617
8 |  |  | 8 | 9 | 1 | 1.044 | 0.74 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.65138 | 0.4617
9 |  |  | 9 | 10 | 1 | 0.1966 | 0.065 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.12266 | 0.040555
10 |  |  | 10 | 11 | 1 | 0.3744 | 0.1238 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.2336 | 0.077242
11 |  |  | 11 | 12 | 1 | 1.468 | 1.155 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.91592 | 0.72063
12 |  |  | 12 | 13 | 1 | 0.5416 | 0.7129 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.33792 | 0.4448
13 |  |  | 13 | 14 | 1 | 0.591 | 0.526 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.36874 | 0.32818
14 |  |  | 14 | 15 | 1 | 0.7463 | 0.545 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.46564 | 0.34004
15 |  |  | 15 | 16 | 1 | 1.289 | 1.721 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.80424 | 1.0738
16 |  |  | 16 | 17 | 1 | 0.732 | 0.574 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.45671 | 0.35813
17 |  |  | 1 | 18 | 1 | 0.164 | 0.1565 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.10232 | 0.097644
18 |  |  | 18 | 19 | 1 | 1.5042 | 1.3554 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.93851 | 0.84567
19 |  |  | 19 | 20 | 1 | 0.4095 | 0.4784 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.2555 | 0.29849
20 |  |  | 20 | 21 | 1 | 0.7089 | 0.9373 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.4423 | 0.58481
21 |  |  | 2 | 22 | 1 | 0.4512 | 0.3083 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.28152 | 0.19236
22 |  |  | 22 | 23 | 1 | 0.898 | 0.7091 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.56028 | 0.44243
23 |  |  | 23 | 24 | 1 | 0.896 | 0.7011 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.55904 | 0.43743
24 |  |  | 5 | 25 | 1 | 0.203 | 0.1034 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.12666 | 0.064514
25 |  |  | 25 | 26 | 1 | 0.2842 | 0.1447 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.17732 | 0.090282
26 |  |  | 26 | 27 | 1 | 1.059 | 0.9337 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.66074 | 0.58256
27 |  |  | 27 | 28 | 1 | 0.8042 | 0.7006 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.50176 | 0.43712
28 |  |  | 28 | 29 | 1 | 0.5075 | 0.2585 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.31664 | 0.16128
29 |  |  | 29 | 30 | 1 | 0.9744 | 0.963 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.60795 | 0.60084
30 |  |  | 30 | 31 | 1 | 0.3105 | 0.3619 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.19373 | 0.2258
31 |  |  | 31 | 32 | 1 | 0.341 | 0.5302 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.21276 | 0.33081
32 |  |  | 7 | 20 | 1 | 2 | 2 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 1.2479 | 1.2479
33 |  |  | 8 | 14 | 1 | 2 | 2 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 1.2479 | 1.2479
34 |  |  | 11 | 21 | 1 | 2 | 2 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 1.2479 | 1.2479
35 |  |  | 17 | 32 | 1 | 0.5 | 0.5 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.31196 | 0.31196
36 |  |  | 24 | 28 | 1 | 0.5 | 0.5 | 0 | 0 | 11.4011 | 1 | 1 | ol | TRUE | 100 | 0.31196 | 0.31196

## trafo
name | std_type | hv_bus | lv_bus | sn_kva | vn_hv_kv | vn_lv_kv | vsc_percent | vscr_percent | pfe_kw | i0_percent | shift_degree | tp_side | tp_mid | tp_min | tp_max | tp_st_percent | tp_st_degree | tp_pos | tp_phase_shifter | parallel | df | in_service

## trafo3w
name | std_type | hv_bus | mv_bus | lv_bus | sn_hv_kva | sn_mv_kva | sn_lv_kva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vsc_hv_percent | vsc_mv_percent | vsc_lv_percent | vscr_hv_percent | vscr_mv_percent | vscr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | tp_side | tp_mid | tp_min | tp_max | tp_st_percent | tp_st_degree | tp_pos | tap_at_star_point | in_service

## impedance
name | from_bus | to_bus | rft_pu | xft_pu | rtf_pu | xtf_pu | sn_kva | in_service

## dcline
name | from_bus | to_bus | p_kw | loss_percent | loss_kw | vm_from_pu | vm_to_pu | max_p_kw | min_q_from_kvar | min_q_to_kvar | max_q_from_kvar | max_q_to_kvar | in_service

## ward
name | bus | ps_kw | qs_kvar | qz_kvar | pz_kw | in_service

## xward
name | bus | ps_kw | qs_kvar | qz_kvar | pz_kw | r_ohm | x_ohm | vm_pu | in_service

## measurement
name | type | element_type | value | std_dev | bus | element

## piecewise_linear_cost
type | element | element_type | p | f

## polynomial_cost
| type | element | element_type | c
0 | p | 0 | ext_grid | [[-0. -0.02 -0. ]]
1 | p | 1 | ext_grid | [[-0. -0.02 -0. ]]

## bus_geodata
x | y

## line_std_types
| c_nf_per_km | max_i_ka | q_mm2 | r_ohm_per_km | type | x_ohm_per_km
NAYY 4x50 SE | 210 | 0.142 | 50 | 0.642 | cs | 0.083
NAYY 4x120 SE | 264 | 0.242 | 120 | 0.225 | cs | 0.08
NAYY 4x150 SE | 261 | 0.27 | 150 | 0.208 | cs | 0.08
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.252 | 95 | 0.313 | cs | 0.132
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.362 | 185 | 0.161 | cs | 0.117
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.421 | 240 | 0.122 | cs | 0.112
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.249 | 95 | 0.313 | cs | 0.123
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.358 | 185 | 0.161 | cs | 0.11
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.416 | 240 | 0.122 | cs | 0.105
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.319 | 150 | 0.206 | cs | 0.116
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.283 | 120 | 0.253 | cs | 0.119
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.22 | 70 | 0.443 | cs | 0.132
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.315 | 150 | 0.206 | cs | 0.11
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.28 | 120 | 0.253 | cs | 0.113
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.217 | 70 | 0.443 | cs | 0.123
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.366 | 120 | 0.153 | cs | 0.166
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.457 | 185 | 0.099 | cs | 0.156
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.526 | 240 | 0.075 | cs | 0.149
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.588 | 300 | 0.06 | cs | 0.144
15-AL1/3-ST1A 0.4 | 11 | 0.105 | 16 | 1.8769 | ol | 0.35
24-AL1/4-ST1A 0.4 | 11.25 | 0.14 | 24 | 1.2012 | ol | 0.335
48-AL1/8-ST1A 0.4 | 12.2 | 0.21 | 48 | 0.5939 | ol | 0.3
94-AL1/15-ST1A 0.4 | 13.2 | 0.35 | 94 | 0.306 | ol | 0.29
34-AL1/6-ST1A 10.0 | 9.7 | 0.17 | 34 | 0.8342 | ol | 0.36
48-AL1/8-ST1A 10.0 | 10.1 | 0.21 | 48 | 0.5939 | ol | 0.35
70-AL1/11-ST1A 10.0 | 10.4 | 0.29 | 70 | 0.4132 | ol | 0.339
94-AL1/15-ST1A 10.0 | 10.75 | 0.35 | 94 | 0.306 | ol | 0.33
122-AL1/20-ST1A 10.0 | 11.1 | 0.41 | 122 | 0.2376 | ol | 0.323
149-AL1/24-ST1A 10.0 | 11.25 | 0.47 | 149 | 0.194 | ol | 0.315
34-AL1/6-ST1A 20.0 | 9.15 | 0.17 | 34 | 0.8342 | ol | 0.382
48-AL1/8-ST1A 20.0 | 9.5 | 0.21 | 48 | 0.5939 | ol | 0.372
70-AL1/11-ST1A 20.0 | 9.7 | 0.29 | 70 | 0.4132 | ol | 0.36
94-AL1/15-ST1A 20.0 | 10 | 0.35 | 94 | 0.306 | ol | 0.35
122-AL1/20-ST1A 20.0 | 10.3 | 0.41 | 122 | 0.2376 | ol | 0.344
149-AL1/24-ST1A 20.0 | 10.5 | 0.47 | 149 | 0.194 | ol | 0.337
184-AL1/30-ST1A 20.0 | 10.75 | 0.535 | 184 | 0.1571 | ol | 0.33
243-AL1/39-ST1A 20.0 | 11 | 0.645 | 243 | 0.1188 | ol | 0.32
149-AL1/24-ST1A 110.0 | 8.75 | 0.47 | 149 | 0.194 | ol | 0.41
184-AL1/30-ST1A 110.0 | 8.8 | 0.535 | 184 | 0.1571 | ol | 0.4
243-AL1/39-ST1A 110.0 | 9 | 0.645 | 243 | 0.1188 | ol | 0.39
305-AL1/39-ST1A 110.0 | 9.2 | 0.74 | 305 | 0.0949 | ol | 0.38
490-AL1/64-ST1A 220.0 | 10 | 0.96 | 490 | 0.059 | ol | 0.285
490-AL1/64-ST1A 380.0 | 11 | 0.96 | 490 | 0.059 | ol | 0.253

## trafo_std_types
| i0_percent | pfe_kw | shift_degree | sn_kva | tp_max | tp_mid | tp_min | tp_phase_shifter | tp_side | tp_st_degree | tp_st_percent | vector_group | vn_hv_kv | vn_lv_kv | vsc_percent | vscr_percent
160 MVA 380/110 kV | 0.06 | 60 | 0 | 160000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | Yy0 | 380 | 110 | 12.2 | 0.25
100 MVA 220/110 kV | 0.06 | 55 | 0 | 100000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | Yy0 | 220 | 110 | 12 | 0.26
63 MVA 110/20 kV | 0.04 | 22 | 150 | 63000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 18 | 0.32
40 MVA 110/20 kV | 0.05 | 18 | 150 | 40000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 16.2 | 0.34
25 MVA 110/20 kV | 0.07 | 14 | 150 | 25000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 12 | 0.41
63 MVA 110/10 kV | 0.04 | 22 | 150 | 63000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 18 | 0.32
40 MVA 110/10 kV | 0.05 | 18 | 150 | 40000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 16.2 | 0.34
25 MVA 110/10 kV | 0.07 | 14 | 150 | 25000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 12 | 0.41
63 MVA 110/20 kV v1.4.3 and older | 0.086 | 33 | 150 | 63000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 11.2 | 0.322
40 MVA 110/20 kV v1.4.3 and older | 0.08 | 31 | 150 | 40000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 11.2 | 0.302
25 MVA 110/20 kV v1.4.3 and older | 0.071 | 29 | 150 | 25000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 20 | 11.2 | 0.282
63 MVA 110/10 kV v1.4.3 and older | 0.078 | 31.51 | 150 | 63000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 10.04 | 0.31
40 MVA 110/10 kV v1.4.3 and older | 0.076 | 30.45 | 150 | 40000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 10.04 | 0.295
25 MVA 110/10 kV v1.4.3 and older | 0.073 | 28.51 | 150 | 25000 | 9 | 0 | -9 | FALSE | hv | 0 | 1.5 | YNd5 | 110 | 10 | 10.04 | 0.276
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 150 | 250 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Yzn5 | 20 | 0.4 | 6 | 1.44
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 150 | 400 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Dyn5 | 20 | 0.4 | 6 | 1.425
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 150 | 630 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Dyn5 | 20 | 0.4 | 6 | 1.206
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 150 | 250 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Dyn5 | 10 | 0.4 | 4 | 1.2
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 150 | 400 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Dyn5 | 10 | 0.4 | 4 | 1.325
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 150 | 630 | 2 | 0 | -2 | FALSE | hv | 0 | 2.5 | Dyn5 | 10 | 0.4 | 4 | 1.0794

## trafo3w_std_types
| i0_percent | pfe_kw | shift_lv_degree | shift_mv_degree | sn_hv_kva | sn_lv_kva | sn_mv_kva | tp_max | tp_mid | tp_min | tp_side | tp_st_percent | vector_group | vn_hv_kv | vn_lv_kv | vn_mv_kv | vsc_hv_percent | vsc_lv_percent | vsc_mv_percent | vscr_hv_percent | vscr_lv_percent | vscr_mv_percent
63/25/38 MVA 110/20/10 kV | 0.89 | 35 | 0 | 0 | 63000 | 38000 | 25000 | 10 | 0 | -10 | hv | 1.2 | YN0yn0yn0 | 110 | 10 | 20 | 10.4 | 10.4 | 10.4 | 0.28 | 0.35 | 0.32
63/25/38 MVA 110/10/10 kV | 0.89 | 35 | 0 | 0 | 63000 | 38000 | 25000 | 10 | 0 | -10 | hv | 1.2 | YN0yn0yn0 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.35 | 0.32

## res_ext_grid
p_kw | q_kvar

## res_load
p_kw | q_kvar

## res_sgen
p_kw | q_kvar

## res_storage
p_kw | q_kvar

## res_shunt
p_kw | q_kvar | vm_pu

## res_gen
p_kw | q_kvar | va_degree | vm_pu

## res_ward
p_kw | q_kvar | vm_pu

## res_xward
p_kw | q_kvar | vm_pu

## res_dcline
p_from_kw | q_from_kvar | p_to_kw | q_to_kvar | pl_kw | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree

## res_bus
vm_pu | va_degree | p_kw | q_kvar

## res_line
p_from_kw | q_from_kvar | p_to_kw | q_to_kvar | pl_kw | ql_kvar | i_from_ka | i_to_ka | i_ka | loading_percent

## res_trafo
p_hv_kw | q_hv_kvar | p_lv_kw | q_lv_kvar | pl_kw | ql_kvar | i_hv_ka | i_lv_ka | loading_percent

## res_trafo3w
p_hv_kw | q_hv_kvar | p_mv_kw | q_mv_kvar | p_lv_kw | q_lv_kvar | pl_kw | ql_kvar | i_hv_ka | i_mv_ka | i_lv_ka | loading_percent

## res_impedance
p_from_kw | q_from_kvar | p_to_kw | q_to_kvar | pl_kw | ql_kvar | i_from_ka | i_to_ka